## Slide 1: Hydrology signature in superconducting gravimeter readings
Jiaxin Liu
Philipp Schollmeier
February 7th, 2023, Stuttgart

## Slide 2: Measurement site
Fig. 1: Location of the BFO (Google Maps)
Black Forest Observatory near the village of Schiltach
Notes: -In a remote location with few human sources of noise
-Granite bedrock -> less movement of ground with changing pressure

## Slide 3: Measurement site
Fig. 2: Layout of the BFO (own picture)
SG in an old silver and cobalt mine
About 100 m under the surface
Notes: -BFO is at the edge of a valley with a small creek, SG about 500 m inside mountain
-Stable temperature of around 8°C inside, air locks provide fairly stable pressure
-Not included in graphic are soil moisture probes

## Slide 4: Measurement site
Fig. 3: Tunnel of the mine (own picture)
Notes: - One of the cables connect SG and outside pressure gauge

## Slide 5: Workflow

## Slide 6: Data
All data are from 2022
Two sensors of the superconducting gravimeters SG056 – G1-F60 and G2-F60, vertical offset of 20 cm between them
Fig. 4: Overview of available data
Notes: - RELATIVE measurements of gravity!

## Slide 7: Data
Fig. 5: Uncalibrated gravity measurements of both sensors
Notes: Outliers at G1-F60 in September
Different magnitudes of voltage

## Slide 8: Calibration

## Slide 9: Calibration
Fig. 6: Calibrated measurements of both sensors
Given calibration coefficients for both sensors

## Slide 10: Calibration
Fig. 6: Calibrated measurements on April 8th

## Slide 11: Corrections
Measurements consist of multiple signals
We are interested in
are big outliers in data, can be caused by operators working on the instrument, will be eliminated
has causes in GIA, slow earthquakes or tectonics, is ignored
Summands 2, 3, 4 and 5 will be subtracted

## Slide 12: Corrections

## Slide 13: Removing outliers

## Slide 14: Gravity measurements
Fig. 3: Difference between two sensors on Jan 1st
Accuracy of SG: better than 0.04 μGal
Trend is bigger than that, correlation with magnitude of gravity

## Slide 15: Corrections
Fig. 4: Synthetic tide signal in January
Fig. 5: Pole Tides in January
Fig. 6: LOD Tides in January
Synthetic tides for the whole year for every minute available

## Slide 16: Corrections
Fig. 7: Gravity series on Jan 1st after the subtraction of tides

## Slide 17: Corrections
Precalibrated value for influence of pressure used
Fig. 8: Recorded air pressure on Jan 1st

## Slide 18: Corrections
Fig. 9: Gravity series on Jan 1st after subtraction of atmospheric influence

## Slide 19: Hydrology
Fig. 10: Recorded soil moisture over the year (Solidus 1, probe 0)
Includes many outliers -> filtering, linear interpolation

## Slide 20: Hydrology
Fig. 11: Soil moisture series after outlier removal (Solidus 1, Probe 0)

## Slide 21: Hydrology
Fig. 12: soil moisture and gravity on April 8th
Significant raining event on April 8th
Gravity trend as expected, but there are also other factors involved

## Slide 22: Hydrology
Fig. 13: Comparison of soil mositure (Solidus 1, both probes) and gravity over the month of April

## Slide 23: Hydrology
Fig. 14: Comparison of gravity in April with the synthetic tides (not to scale)
A clear half-daily period remains -> is there a residual tidal effect remaining?
Comparison shows a small phase difference

## Slide 24: Next steps
Fit a model for the effect of soil moisture
Eliminating half-daily period in data?
SSA and wavelet analysis
Comparing with rain gauge data
Comparison with GRACE and HydroData
Models for mass changes in Earth‘s mantel?
Analyse the different soil moisture series