## Slide 1: Hydrology signature in superconducting gravimeter readings
Jiaxin Liu
Philipp Schollmeier
February 7th, 2023, Stuttgart

## Slide 2: Measurement site
Fig. 1: Location of the BFO (Google Maps)
Black Forest Observatory near the village of Schiltach
Notes: -In a remote location with few human sources of noise
-Granite bedrock -> less movement of ground with changing pressure

## Slide 3: Measurement site
Fig. 2: Layout of the BFO (own picture)
SG in an old silver and cobalt mine
About 100 m under the surface
Notes: -BFO is at the edge of a valley with a small creek, SG about 500 m inside mountain
-Stable temperature of around 8°C inside, air locks provide fairly stable pressure
-Not included in graphic are soil moisture probes

## Slide 4: Measurement site
Fig. 3: Tunnel of the mine (own picture)
Notes: - One of the cables connect SG and outside pressure gauge

## Slide 5: Workflow

## Slide 6: Data
All data are from 2022
Two sensors of the superconducting gravimeters SG056 – G1-F60 and G2-F60, vertical offset of 20 cm between them
Fig. 4: Overview of available data
Notes: - RELATIVE measurements of gravity!

## Slide 7: Data
Fig. 5: Uncalibrated gravity measurements of both sensors
Notes: Outliers at G1-F60 in September
Different magnitudes of voltage

## Slide 8: Calibration

## Slide 9: Calibration
Fig. 6: Calibrated measurements of both sensors
Given calibration coefficients for both sensors

## Slide 10: Calibration
Fig. 6: Calibrated measurements on April 8th

## Slide 11: Corrections
Measurements consist of multiple signals
We are interested in
are big outliers in data, can be caused by operators working on the instrument, will be eliminated
has causes in GIA, slow earthquakes or tectonics, is ignored
Summands 2, 3, 4 and 5 will be subtracted

## Slide 12: Corrections

## Slide 13: Removing outliers
Fig. 7: Differences between two sensors before outlier filtering

## Slide 14: Removing outliers
Fig. 8: Removing outliers

## Slide 15: Removing outliers
Fig. 9: Comparison of gravity series before and after outlier removal

## Slide 16: Tides

## Slide 17: Tides
Fig. 10: Synthetic tides
Notes: - Pole tide: Chandler period (400 days)

## Slide 18: Tides
Fig. 11: Tide subtraction

## Slide 19: Tides
Fig. 12: Tide subtraction on Apr 8th

## Slide 20: Atmospheric pressure

## Slide 21: Atmospheric pressure
Fig. 13: Outside pressure series over the year
Notes: - Data gaps because of interrupted connection between SG and pressure gauge after a storm

## Slide 22: Atmospheric pressure
Fig. 14: Density scatter plot between inside and outside pressure

## Slide 23: Atmospheric pressure
Fig. 15: Pressure series at the hut

## Slide 24: Atmospheric pressure
Fig.16: Pressure series at the hut after filtering

## Slide 25: Atmospheric pressure
Fig. 17: Density scatter plot between outside
pressure and gravity residuals
Notes: - Mention correlation coefficient

## Slide 26: Atmospheric pressure
Fig. 18: Density scatter plot between inside
pressure and gravity residuals
Notes: - Mention correlation coefficient

## Slide 27: Atmospheric pressure
Fig. 19: Gravity residuals after pressure correction, gaps filled
by inside pressure

## Slide 28: Atmospheric pressure
Fig. 21: Gravity residuals on April 8th before and after atmospheric correction

## Slide 29: Atmospheric pressure

## Slide 30: Atmospheric factor
Fig. 22: Density scatter plot between outside pressure and gravity residuals of sensor 1, without drift correction

## Slide 31: Atmospheric factor
Fig. 23: Density scatter plot between outside pressure and gravity residuals of sensor 2, without drift correction

## Slide 32: Gravity measurements
Fig. 3: Difference between two sensors on Jan 1st
Accuracy of SG: better than 0.04 μGal
Trend is bigger than that, correlation with magnitude of gravity

## Slide 33: Hydrology
Fig. 10: Recorded soil moisture over the year (Solidus 1, probe 0)
Includes many outliers -> filtering, linear interpolation

## Slide 34: Hydrology
Fig. 11: Soil moisture series after outlier removal (Solidus 1, Probe 0)

## Slide 35: Hydrology
Fig. 12: soil moisture and gravity on April 8th
Significant raining event on April 8th
Gravity trend as expected, but there are also other factors involved

## Slide 36: Hydrology
Fig. 13: Comparison of soil mositure (Solidus 1, both probes) and gravity over the month of April

## Slide 37: Hydrology
Fig. 14: Comparison of soil mositure (Solidus 1, both probes) and gravity over the year

## Slide 38: Hydrology
Fig. 15: Scatter plot of soil mositure and gravity residuals

## Slide 39: Hydrology
Fig. 16: results after fiting a scale

## Slide 40: Hydrology
Fig. 14: Comparison of gravity in April with the synthetic tides (not to scale)
A clear half-daily period remains -> is there a residual tidal effect remaining?
Comparison shows a small phase difference

## Slide 41: Adjustment
Fig. 14: with remaining frequencies (blue);without remaining frequencies red)

## Slide 42: Hydrology
Fig. 15: Precipitation in mm/hour

## Slide 43: GRACE
GRACE Follow-On data up to degree 96 without filtering from ICGEM
Monthly solution only up to October
Adding of degree 1 coefficients and replacing C2,0 and C3,0 from the GRACE Technical Notes #13 and #14 of the NASA GRACE documentation

## Slide 44: Gaussian filter
Fig. 15: Radius = 1000 km (above); Radius = 600 km (bottom) almost no change

## Slide 45: Degree
Fig. 16: = 96 (above) ; = 10 (bottom) The error increases with increasing Grad

## Slide 46: Love number
Fig. 17: with love number (above) ; without love number (middle) difference (bottom)

## Slide 47: Comparison
Fig. 18: Comparison of gravity residuals from SG(daily mean) and GRACE/GRACE FO

## Slide 48: Comparison

## Slide 49: Next steps
Fit a model for the effect of soil moisture
Eliminating half-daily period in data?
SSA and wavelet analysis
Comparing with rain gauge data
Comparison with GRACE and HydroData
Models for mass changes in Earth‘s mantel?
Analyse the different soil moisture series