## Slide 1: Hydrology signature in superconducting gravimeter readings
Jiaxin Liu
Philipp Schollmeier
February 7th, 2023, Stuttgart

## Slide 2: Measurement site
Fig. 1: Location of the BFO (Google Maps)
Black Forest Observatory near the village of Schiltach
Notes: -In a remote location with few human sources of noise
-Granite bedrock -> less movement of ground with changing pressure

## Slide 3: Measurement site
Fig. 2: Layout of the BFO (own picture)
SG in an old silver and cobalt mine
About 100 m under the surface
Notes: -BFO is at the edge of a valley with a small creek, SG about 500 m inside mountain
-Stable temperature of around 8°C inside, air locks provide fairly stable pressure
-Not included in graphic are soil moisture probes

## Slide 4: Measurement site
Fig. 3: Tunnel of the mine (own picture)
Notes: - One of the cables connect SG and outside pressure gauge

## Slide 5: Workflow

## Slide 6: Data
All data are from 2022
Two sensors of the superconducting gravimeters SG056 – G1-F60 and G2-F60, vertical offset of 20 cm between them
Fig. 4: Overview of available data
Notes: - RELATIVE measurements of gravity!

## Slide 7: Data
Fig. 5: Uncalibrated gravity measurements of both sensors
Notes: Outliers at G1-F60 in September
Different magnitudes of voltage

## Slide 8: Calibration

## Slide 9: Calibration
Fig. 6: Calibrated measurements of both sensors
Given calibration coefficients for both sensors

## Slide 10: Calibration
Fig. 6: Calibrated measurements on April 8th

## Slide 11: Corrections
Measurements consist of multiple signals
We are interested in
are big outliers in data, can be caused by operators working on the instrument, will be eliminated
has causes in GIA, slow earthquakes or tectonics, is ignored
Summands 2, 3, 4 and 5 will be subtracted

## Slide 12: Corrections

## Slide 13: Removing outliers
Fig. 7: Differences between two sensors before outlier filtering

## Slide 14: Removing outliers
Fig. 8: Removing outliers

## Slide 15: Removing outliers
Fig. 9: Comparison of gravity series before and after outlier removal

## Slide 16: Tides

## Slide 17: Tides
Fig. 10: Synthetic tides
Notes: - Pole tide: Chandler period (400 days)

## Slide 18: Tides
Fig. 11: Tide subtraction

## Slide 19: Tides
Fig. 12: Tide subtraction on Apr 8th

## Slide 20: Atmospheric pressure

## Slide 21: Atmospheric pressure
Fig. 13: Outside pressure series over the year
Notes: - Data gaps because of interrupted connection between SG and pressure gauge after a storm

## Slide 22: Atmospheric pressure
Fig. 14: Density scatter plot between inside and outside pressure

## Slide 23: Atmospheric pressure
Fig. 15: Pressure series at the hut

## Slide 24: Atmospheric pressure
Fig.16: Pressure series at the hut after filtering

## Slide 25: Atmospheric pressure
Fig. 17: Density scatter plot between outside
pressure and gravity residuals
Notes: - Mention correlation coefficient

## Slide 26: Atmospheric pressure
Fig. 18: Density scatter plot between inside
pressure and gravity residuals
Notes: - Mention correlation coefficient

## Slide 27: Atmospheric pressure
Fig. 19: Gravity residuals after pressure correction, gaps filled
by inside pressure

## Slide 28: Atmospheric pressure
Fig. 21: Gravity residuals on April 8th before and after atmospheric correction

## Slide 29: Atmospheric factor

## Slide 30: Atmospheric factor
Fig. 22: Density scatter plot between outside pressure and gravity residuals of sensor 1, without drift correction

## Slide 31: Atmospheric factor
Fig. 23: Density scatter plot between outside pressure and gravity residuals of sensor 2, without drift correction

## Slide 32: Atmospheric factor
Fig. 24: Density scatter plot between outside pressure and gravity residuals of sensor 2, with drift correction

## Slide 33: Atmospheric factor
Fig. 25: Density scatter plot between outside pressure and gravity residuals of sensor 2, with drift correction

## Slide 34: Remaining frequencies

## Slide 35: Remaining frequencies
Fig. 26: Gravity residuals of both sensors in April after removing atmospheric influence
Notes: Frequencies with small amplitudes, especially tidal, are still visible
Load tides are not removed perfectly, parameters were estimated for a longer period

## Slide 36: Remaining frequencies
Lunar day = 0.966 cpd, half lunar day = 1.933 cpd
Fig. 27: Lomb-scargle analysis of gravity series of sensor 1, biggest peaks marked

## Slide 37: Remaining frequencies
Fig. 28: Full Lomb-scargle analysis for sensor 1
Notes: - Inverse Depiction!!!

## Slide 38: Remaining frequencies
Eliminated frequencies: 354 days, 1 day, 1 lunar day, ½ day, ½ lunar day
Fig. 29: Gravity series before and after frequency elimination

## Slide 39: Remaining frequencies
Fig. 30: Fitted Oscillations in April

## Slide 40: Remaining frequencies
Fig. 31: Comparison of gravity series before and after frequency elimination

## Slide 41: Remaining frequencies
Fig. 32: Comparison of PSDs before and after frequency elimination

## Slide 42: Remaining frequencies

## Slide 43: Additional slides
Fig. 27: Lomb-scargle analysis of gravity series of sensor 2

## Slide 44: Additional slides
Fig. 28: Full Lomb-scargle analysis for sensor 1